

SECTION 11 66 23. 56 [11480]

WRESTLING MAT STORAGE
[image: image1.jpg]PROGRESSIVE

SporTs CONSTRUCTION GRouP




PART 1 - GENERAL
1.1
SUMMARY


A.
Section includes: 
1. Wrestling Mat Hoist.



B.
Related sections:

1. Section [____] - [__________]: Structural steel framing to support Mat Hoist.

2. Section [____] - [__________]: Electrical supply, conduit, and wiring for Mat Hoist.

1.2 seq level1 \h \r0 

seq level2 \h \r0 

seq level3 \h \r0 SUBMITTALS


A.
Submit in accordance with Section 01 33 00 [01330] - Submittal Procedures:

1. List of proposed products and product data.

2. Shop drawings showing layout, elevations, dimensions, fabrication details, method of attachment, and electrical wiring diagrams.

3. Manufacturer's installation and maintenance instructions.

1.3

seq level1 \h \r0 

seq level2 \h \r0 

seq level3 \h \r0 
QUALITY ASSURANCE


A.
Source limitation: All components including suspension system, frame assembly, controls for mat lifter, shall be products of a single manufacturer.

1.4

seq level1 \h \r0 

seq level2 \h \r0 
DELIVERY, STORAGE, AND HANDLING


A.
Do not deliver equipment until building is enclosed and other construction within gymnasium is substantially complete.

PART 2 - PRODUCTS
2.1

seq level1 \h \r0 

seq level2 \h \r0 
ACCEPTABLE MANUFACTURERS


A.
Progressive Sports Construction Group, 411 South Pearl Street, Spiceland, Indiana 47385; 877-413-0957.

B. Manufacturers of equivalent products submitted and approved in accordance with Section 01 23 00 [01360] - Product Substitution Procedures.

2.2

seq level1 \h \r0 

seq level2 \h \r0 
 WRESTLING MAT HOISTseq level1 \h \r0 

seq level2 \h \r0 
***** Use the following paragraphs to specify 502019 Sectional Mat Lifter 


A.
Type: Model No. 502019 Sectional Mat Lifter



B.
Construction: Mat Lifter construction shall consist of a welded steel frame, with all drive and lifting mechanisms enclosed in sheet metal housing. Unit shall be a two cable system to assure balanced operation. Cables shall be attached to a load bar, which shall be connected to a fabric sling. Standard unit, load bar, and sling shall be capable of supporting three [15' x 45'] [4.572 x 13.716 m] sections of one standard [45’ x 45’] 13.716 x 13.716 m] wrestling mat (weighing approximately [1 lb./sq. ft.] [4.882 kg/sq. m]) with a 5 to 1 safety ratio. Each unit shall consist of a 210:1 ratio double reduction worm-worm attached to an instantly reversing 2 HP motor, operating with 208/230/460 volts in 3-phase, including a [6 lb. per force-foot] [0.8295 kg per force-meter] electric safety brake. Lifting and lowering speed shall be approximately [10 feet per minute] [3.048 meters per minute]. Lifting drums shall be machine synchronized for cable wrap and driven by a 210:1 ratio gearbox. Drum shaft shall be [1-7/16"] [36.5125 mm] diameter cold-finished steel.

Two steel lift cables shall be [5/16"] [7.9375 mm] 6-strand, 37 wires per strand, fiber core. Cables shall be rated at [1704 lbs.] [772.9 kg] each at a 5-to-1-safety factor. Load bar shall be connected to a [22 oz. per square yard] [745.9 grams per square meter] vinyl fabric sling with heavy-duty straps and fasteners. Standard sling color is black; other colors are available by special request. Fabric sling incorporates safety straps that wrap completely around mats. Safety straps prevent mat from falling should fabric sling become torn. For safety purposes, sling capacity shall govern the lift capacity of the system. Motor, drive assembly, and all control mechanisms shall be encased in a fireproof safety cover. Movement control shall be by surface mounted control enclosure with limit switches. Approximate unit weight shall be [1,400 lb.] [636 kg].
Structural support members and wall connections to be provided by others to meet building and unit requirements. 
***** Use the following paragraphs to specify 502020 Single Mat Lifter 


A.
Type: Model No. 502020 Single Mat Lifter



B.
Construction: Mat Lifter construction shall consist of a welded steel frame, with all drive and lifting mechanism enclosed in sheet metal housing. Unit shall be a two cable system to assure balanced operation. Cables shall be attached to a load bar, which shall be connected to a fabric sling. Standard unit, load bar, and sling shall be capable of supporting a standard [45’ x 45’] 13.716 x 13.716 m] wrestling mat (weighing approximately [1 lb./sq. ft.] [4.882 kg/sq. m]) with a 5 to 1 safety ratio. Each unit shall consist of a 210:1 ratio double reduction worm-worm attached to an instantly reversing 2 HP motor, operating with 208/230/460 volts in 3-phase, including a [6 lb. per force-foot] [0.8295 kg per force-meter] electric safety brake. Lifting and lowering speed shall be approximately [10 feet per minute] [3.048 meters per minute]. Lifting drums shall be machine synchronized for cable wrap and driven by a 210:1 ratio gearbox. Drum shaft shall be [1-7/16"] [36.5125 mm] diameter cold-finished steel.

Two steel lift cables shall be [5/16"] [7.9375 mm] 6-strand, 37 wires per strand, fiber core. Cables shall be rated at [1704 lbs.] [772.9 kg] each at a 5-to-1-safety factor. Load bar shall be connected to a [22 oz. per square yard] [745.9 grams per square meter] vinyl fabric sling with heavy-duty straps and fasteners. Standard sling color is black; other colors are available by special request. Fabric sling incorporates safety straps that wrap completely around mats. Safety straps prevent mat from falling should fabric sling become torn. For safety purposes, sling capacity shall govern the lift capacity of the system. Motor, drive assembly, and all control mechanisms shall be encased in a fireproof safety cover. Movement control shall be by surface mounted control enclosure with limit switches. Approximate unit weight shall be [1,700 lb.] [772 kg].

Structural support members and wall connections are to be provided by others to meet building and unit requirements. 
***** Use the following paragraphs to specify 502021 Double Mat Lifter 


A.
Type: Model No. 502021 Double Mat Lifter



B.
Construction: Mat Lifter construction shall consist of a welded steel frame, with all drive and lifting mechanism enclosed in sheet metal housing. Unit shall be a two cable system to assure balanced operation. Cables shall be attached to the welded frame and pass through sheave blocks attached to a load bar, which shall be connected to a fabric sling. Standard unit, load bar, and sling shall be capable of supporting two standard [42' x 42'] [14.616 x 14.616 m] wrestling mat (weighing approximately [1 lb./sq. ft.] [4.882 kg/sq. m]) with a 5 to 1 safety ratio. Each unit shall consist of a 210:1 ratio double reduction worm-worm attached to an instantly reversing 2 HP motor, operating with 208/230/460 volts in 3-phase, including a [6 lb. per force-foot] [0.8295 kg per force-meter] electric safety brake. Lifting and lowering speed shall be approximately [5 feet per minute] [1.524 meters per minute]. Lifting drums shall be machine synchronized for cable wrap and driven by a 210:1 ratio gearbox. Drum shaft shall be [1-7/16"] [36.5125 mm] diameter cold-finished steel.

Two steel lift cables shall be [5/16"] [7.9375 mm] 6-strand, 37 wires per strand, fiber core. Cables shall be rated at [1704 lbs.] [772.9 kg] each at a 5-to-1-safety factor. Load bar shall be connected to two [22 oz. per square yard] [745.9 grams per square meter] vinyl fabric slings with heavy-duty straps and fasteners. Standard sling color is black; other colors are available by special request. Fabric sling incorporates safety straps that wrap completely around mats. Safety straps prevent mat from falling should fabric sling become torn. For safety purposes, sling capacity shall govern the lift capacity of the system. Motor, drive assembly, and all control mechanisms shall be encased in a fireproof safety cover. Movement control shall be by surface mounted control enclosure with limit switches. Approximate unit weight shall be [1,900 lb] [863 kg].




Structural support members and wall connections are to be provided by others to meet building and unit requirements.

***** As an option, a traveling kit can be provided for Mat Lifters. Include the following paragraphs if traveling kit is required. 
C. Mat Lifter Travel Kit shall be driven by a .50 HP motor operating with 208/230/460 volts in 3-phase attached to a 60:1 ratio gear box with non-pneumatic wheel (s).

***** Choose appropriate traveling kit for the desired method of travel. 
D. End First travel kit for unit shall have two [1-ton] [907 kg] machined trolleys with festooning power cables. Motors, drive assembly, and all control mechanisms shall be encased in a fireproof safety cover.

E. Sideways travel kit shall have four [½-ton] [454 kg] machined trolleys with festooning power cables. Motors, drive assembly, and all control mechanisms shall be encased in a fireproof safety cover.

Electrical Contractor Shall Provide and Install: 




All conduits complete with wire from power source to control enclosure, from control enclosure to unit.
PART 3 - EXECUTION
3.1

seq level1 \h \r0 

seq level2 \h \r0 
PREPARATION


A.
Coordinate support of mat lifter with roof structure to ensure proper distribution of loads and adequacy of attachment points. Ensure that building structure has been designed for loads of specific mat lifter to be provided. Provide additional structural framing members as required in accordance with Section [_____] - [__________].



B.
Coordinate configuration, size, and installation of mat lifter with height, slope, and type of building structure and lighting fixtures, mechanical equipment, ductwork, fire-suppression system, bleachers, athletic equipment, and other potential obstructions.

C. Field verify dimensions prior to fabrication.

D. Coordinate electrical requirements for motorized operating mechanism to ensure proper power source, conduit, wiring, and boxes for keyed switches. Prior to installation, verify type and location of power supply. See “Electrical Contractor Shall Provide and Install”

E. Painting: Mat Lifter and parts shall be factory painted neutral gray enamel paint. 
F. For installations made after wood gymnasium flooring is installed, provide protection and exercise care not to damage flooring.

G. Coordinate unloading and transport of mat lifter into facility insuring there is ample room to navigate large equipment into are where it is to be installed.
3.2

seq level1 \h \r0 

seq level2 \h \r0 
INSTALLATION



A.
Install in accordance with manufacturer's written instructions and shop drawings.



B.
Install even, plumb and level.



C.
Install control switch such that operator has view of complete mat lifter during lowering and raising.



D.
Adjust limit switches to ensure accurate position in both stored and lowered positions.

3.3

seq level1 \h \r0 

seq level2 \h \r0 
TESTING AND DEMONSTRATION



A.
Operate mat lifter to ensure proper lifting and lowering. Adjust as required to ensure smooth operation and accurate positioning.



B.
Demonstrate to Owner's designated representatives complete operation and required maintenance.


END OF SECTION
_____________________________________________________________________

WRESTLING MAT STORAGE
11 66 23. 56

